EKG Consult Workflow

Please follow the tips below to ensure the best quality EKG

* Remain in the EKG consult screen at all times.
* Positioning adjustments can be made to the electrodes and leads to enhance the EKG strip quality prior to saving the EKG.
* For enhanced quality, please ensure that the patient’s clothing is not touching the electrodes or leads.
* Please stabilize the patient’s upper and lower extremities to ensure the best quality of the EKG strip.
* When you have completed the EKG, you will receive a print out on your unit fax machine, and the EKG will be automatically sent to the physician for interpretation. You will receive an additional fax of the final read EKG.

**Technical Support is always available by calling**

**1-888-5Curavi (1-888-528-7284)**

 **CuraviSupport™ icon on the CuraviCart™ desktop**

**support@curavihealth.com**